## Action Plan
Project: “Building Capacity towards sustainable capital development in North Macedonia”
Action Plan for decarbonization of the health sector
| Project title | Project/ Initiative/ Measure title | Key leading institution | Main project beneficiary (direct and indirect) | Project/ Initiative/ Measure objective | Key Performance Indicators (KPI) | Coherence and alignment with current National strategies / laws / working programs | Type of activity: ☐ Capacity Building ☐ Infrastructure investment | Focus area of the project ☐ Mitigation ☐ Adaptation ☐ Cross-cutting | Duration of the project (years) ☐ Short-term (up to 3) ☐ Mid-term (from 3 to 5) ☐ Long-term (more than 5) | Indicative total project cost (EUR)
7.2.1 Governance | Commitment to climate neutrality and sustainability | 1.Include climate neutrality and sustainability in mission statement/vision; 2.Identification of Climate focal Point (CFP) in Health Sector; 3.Coordination of Climate actions across Health sector | Ministry of Health and IPH | "Direct: Healthcare facilities Indirect: Patients and the broader community" | To achieve climate neutrality by reducing greenhouse gas emissions, enhancing energy efficiency, and promoting sustainable practices across all operational areas. | included in Mission statement CFP in place and active Number of coordination meetings per year | It aligns with National Energy and Climate Plans (NECPs), the Paris Agreement, and Sustainable Development Goals (SDGs), particularly Goal 13 (Climate Action). It also connects with national and local environmental laws scope 1,2,3 | Capacity building | Cross-cutting | Short term (1-3 years)
| Knowledge Management | 1. Training of employees on the topics of climate protection and sustainability; 2.Install environment/climate officer in each public hospital; 3.Training of employees on the topic of “climate-related illnesses”; 4.Provide information to patients, e.g. notices or information events | Ministry of Health and IPH | "Direct: Healthcare facilities Indirect: Patients and the broader community" | To achieve climate neutrality by reducing greenhouse gas emissions, enhancing energy efficiency, and promoting sustainable practices across all operational areas. | Number of trainings per year; Number of climate officers; Track record | It aligns with National Energy and Climate Plans (NECPs), the Paris Agreement, and Sustainable Development Goals (SDGs), particularly Goal 13 (Climate Action). It also connects with national and local environmental laws scope 1,2,3 | Capacity building | Cross-cutting | Short term (1-3 years)
| Monitoring | 1. Establish a reporting system on GHG emissions to track progress; 2. Legal anchoring of a consumption data reporting obligation for large healthcare facilities | Ministry of Health and IPH | "Direct: Healthcare facilities Indirect: Patients and the broader community" | To achieve climate neutrality by reducing greenhouse gas emissions, enhancing energy efficiency, and promoting sustainable practices across all operational areas. | Annual GHG reporting | It aligns with National Energy and Climate Plans (NECPs), the Paris Agreement, and Sustainable Development Goals (SDGs), particularly Goal 13 (Climate Action). It also connects with national and local environmental laws scope 1,2,3 | Capacity building | Cross-cutting | Short term (1-3 years)
7.2.2 Energy Efficiency Upgrades | Detailed Energy Audits | To identify areas for improvement in energy use and enhance energy efficiency in healthcare facilities. | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Conducting thorough assessments of current energy consumption patterns. 2. Identifying inefficiencies and potential areas for energy savings. 3. Developing detailed reports with recommendations for energy-saving measures. | Number of energy audits conducted, percentage of energy savings identified. | Aligned with national energy efficiency strategies and laws, such as the National Energy Efficiency Action Plan (NEEAP) and relevant environmental regulations. scope 1,2,3 | Capacity building | Mitigation | Short term (1-3 years) | 5,000-30,000 eur per facility
| Energy-Efficient Lighting Systems Upgrade | To reduce energy consumption by replacing conventional lighting with LED lights. | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Assessing current lighting systems. 2. Procuring and installing LED lights. 3. Training staff on energy-saving practices related to lighting. | Reduction in energy consumption from lighting, number of LED lights installed. | Aligned with national energy policies and the Sustainable Development Goals (SDGs) scope 1,2 | Infrastructure investment | Mitigation | Short term (1-3 years)
| HVAC Systems Upgrade | To improve energy efficiency and indoor air quality by upgrading HVAC systems. | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Assessing current HVAC systems. 2. Procuring and installing energy-efficient HVAC units. 3.Training staff on the operation and maintenance of new systems. | Reduction in energy consumption from HVAC systems, improvement in indoor air quality. | Aligned with national climate action plans and energy efficiency law scope 1,2 | Infrastructure investment | Mitigation and adaptation | mid-term 3 to 5 years
| Building Envelope Insulation | To reduce heating and cooling demands by improving the thermal insulation of healthcare facilities. | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Conducting thermal imaging surveys to identify areas of heat loss. 2. Installing high-quality insulation materials in walls, roofs, and floors. 3. Sealing windows and doors to prevent air leakage. | Reduction in energy consumption for heating and cooling, improvement in indoor temperature regulation | Aligned with national energy efficiency strategies, energy efficiency law, energy performance of building by law and building codes scope 1,2 | Infrastructure investment | Mitigation | mid-term 3 to 5 years
| Energy-Efficient Windows and Glazing | To improve energy efficiency by upgrading windows and glazing to reduce heat loss and gain. | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Assessing existing windows and glazing. 2.Installing double or triple-glazed windows. 3.Applying low-emissivity (Low-E) coatings to windows. | Reduction in energy consumption for heating and cooling | Aligned with national energy efficiency strategies, energy efficiency law, energy performance of building by law and building codes scope 1,2 | Infrastructure investment | Mitigation | mid-term 3 to 5 years
| Smart Building Management Systems | To optimize energy use through advanced building management technologies | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Installing smart meters and sensors to monitor energy use. 2.Implementing automated controls for lighting, HVAC, and other systems. 3.Using data analytics to identify and address inefficiencies. | Improvement in energy efficiency metrics, reduction in operational costs | Aligned with national energy efficiency strategies, energy efficiency law, energy performance of building by law and building codes scope 1,2 | Infrastructure investment | Cross-cutting (mitigation and adaptation) | mid-term 3 to 5 years
| Energy-Efficient Water Heating Systems | To reduce energy consumption by upgrading to more efficient water heating systems | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Installing solar water heating systems. 2.Upgrading to energy-efficient boilers and heat pumps. 3.Implementing water-saving fixtures. | Reduction in energy consumption for water heating, cost savings on energy bills | Aligned with national energy efficiency strategies, energy efficiency law, energy performance of building by law and building codes scope 1,2 | Infrastructure investment | Mitigation | Short term (1-3 years)
| Micro and Small Cogeneration | To implement micro and small cogeneration systems to enhance energy efficiency and reduce greenhouse gas emissions. | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | Install micro and small cogeneration (combined heat and power) systems where's possible. This involves conducting feasibility studies, selecting appropriate cogeneration units, and integrating these systems with existing infrastructure. | Number of cogeneration units installed | National Energy Efficiency Action Plan (NEEAP): Supports initiatives to improve energy efficiency and reduce emissions in the healthcare sector. Law on Energy Efficiency: Encourages the adoption of cogeneration technologies for efficient energy use. scope 1,2 | Infrastructure investment | Mitigation | mid-term 3 to 5 years | €1,500, - €2,000 per kW
7.2.3. Renewable Energy Integration | Solar Panel Installation on Rooftops or On-Site Solar Farms | To generate electricity using solar energy, reducing reliance on the grid and lowering energy costs. | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Conducting site assessments to determine optimal locations for solar panels. 2. Installing up to 40 kW photovoltaic (PV) systems on rooftops or on-site. 3.Integrating solar power systems with existing electrical infrastructure. 4.Training staff on the maintenance and monitoring of solar installations. | Amount of electricity generated from solar power: 40 kW system can generate approximately 50,000 kWh per year, depending on location and efficiency. | National Renewable Energy Action Plan (NREAP); Energy Development Strategy until 2040; National Energy Efficiency Action Plan (NEEAP); Climate Change Strategy and Action Plan scope 1,2 | Infrastructure investment | Mitigation | mid-term 3 to 5 years | €50,000 - €100,000 per facility
| Wind Turbine Installation | To harness wind energy to generate electricity, reducing carbon emissions and energy costs. | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Conducting wind assessments to identify suitable locations for wind turbines. 2.Installing small to medium-sized wind turbines where feasible. 3.Integrating wind energy systems with existing electrical infrastructure. 4.Training staff on the maintenance and monitoring of wind turbines. | Amount of electricity generated from wind energy (kWh), reduction in grid electricity consumption | National Renewable Energy Action Plan (NREAP); Energy Development Strategy until 2040; National Energy Efficiency Action Plan (NEEAP); Climate Change Strategy and Action Plan scope 1,2 | Infrastructure investment | Mitigation | mid-term 3 to 5 years | €100,000 - €300,000 per facility
| Geothermal Heating and Cooling Systems | To implement geothermal systems for heating and cooling, reducing reliance on conventional energy sources and enhancing energy efficiency | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Conducting geothermal assessments to identify suitable locations. 2.Installing geothermal heat pumps and associated infrastructure. 3.Integrating geothermal systems with existing HVAC systems. 4.Training staff on the operation and maintenance of geothermal systems. | Reduction in energy consumption for heating and cooling, improvement in indoor climate control | National Renewable Energy Action Plan (NREAP); Energy Development Strategy until 2040; National Energy Efficiency Action Plan (NEEAP); Climate Change Strategy and Action Plan scope 1,2 | Infrastructure investment | Cross-cutting (mitigation and adaptation) | Mid to long term (3-7 years) | €20,000 - €500,000 per facility
| Battery Storage | To store excess energy generated from renewable sources for use during peak demand or outages, enhancing energy reliability and efficiency | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Assessing energy storage needs and potential. 2.Procuring and installing battery storage systems. 3.Integrating battery storage with solar and wind energy systems. 4.Training staff on the operation and maintenance of battery storage systems. | Storage capacity installed: Typically, a 40 kW solar PV system would need a battery capacity of around 80 kWh to store a full day's generation, depending on usage patterns and storage technology. | National Renewable Energy Action Plan (NREAP); Energy Development Strategy until 2040; National Energy Efficiency Action Plan (NEEAP); Climate Change Strategy and Action Plan scope 1,2 | Infrastructure investment | Cross-cutting (mitigation and adaptation) | mid-term 3 to 5 years | €50,000 - €100,000 per facility
7.2.4.Climate Resilient Design | Flood protection | Comprehensive Flood Protection for Healthcare Facilities | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Conducting flood risk assessments for healthcare facilities. 2.Elevating critical building components and facilities in flood-prone areas. 3.Installing flood barriers and levees around vulnerable healthcare facilities. 4.Developing and improving drainage systems to manage floodwaters. 5.Training staff on flood preparedness and response. | Number of facilities protected from floods, reduction in flood-related damage costs | Aligned with national disaster risk reduction strategies: National Strategy for Disaster Risk Reduction; National Crisis Management System; National Climate Change Strategy; National Environmental Action Plan (NEAP) | Infrastructure investment | Adaptation | Mid to long term (3-7 years)
| Heat-Resistant Materials | Heat-Resistant Building Materials and Technologies | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Assessing existing building materials and identifying areas for improvement. 2.Installing cool roofs and applying reflective paint on building exteriors. 3.Incorporating heat-resistant materials in new constructions and renovations. 4.Training maintenance staff on the application and upkeep of heat-resistant materials. | Reduction in internal temperatures, decrease in energy consumption for cooling | Aligned with national disaster risk reduction strategies: National Strategy for Disaster Risk Reduction; National Crisis Management System; National Climate Change Strategy; National Environmental Action Plan (NEAP) | Infrastructure investment | Cross-cutting (mitigation and adaptation) | mid-term 3 to 5 years
| Natural Ventilation | To design and retrofit buildings to maximize natural ventilation, reducing reliance on air conditioning. | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Conducting ventilation assessments to identify opportunities for natural airflow. 2.Designing and retrofitting buildings to incorporate passive ventilation techniques. 3.Installing operable windows, vents, and other ventilation-enhancing features. 4.Training building staff on optimizing natural ventilation systems. | Reduction in energy consumption for air conditioning, improvement in indoor air quality | Aligned with national energy efficiency policies and building codes: National Energy Efficiency Action Plan (NEEAP); Energy Development Strategy until 2040; Law on Energy Efficiency; Building Codes and Standards scope 1,2 | Infrastructure investment | Cross-cutting (mitigation and adaptation) | mid-term 3 to 5 years
| Emergency Preparedness | To ensure that healthcare facilities have backup power supplies, emergency response plans, and adequate resources to remain operational during disasters | Ministry of Health, IPH in collaboration with the National Emergency Management Agency (CUK) | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Developing and regularly updating emergency response plans. 2.Installing backup power supplies, such as generators and battery storage systems. 3.Stockpiling essential supplies and resources for disaster scenarios. 4.Conducting regular emergency drills and training for staff. 5.Establishing communication protocols and coordination mechanisms with local emergency services. | Number of facilities with updated emergency response plans, availability of backup power systems, staff trained in emergency response. | Aligned with national disaster risk reduction strategies: National Strategy for Disaster Risk Reduction; National Crisis Management System; National Climate Change Strategy; National Environmental Action Plan (NEAP) | Capacity building and infrastructure investment | Adaptation | mid-term 3 to 5 years
7.2.5. Water Conservation | Installation of Low-Flow Fixtures and detection and repair of leaks | To reduce water use, water leaks and promote water conservation by installing low-flow faucets, toilets, and showerheads. Rehabilitation and Replacement of Old Pipes. Regular maintenance and replacement of old and damaged water pipes to reduce the likelihood of leaks and water losses. | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Conducting assessments to identify existing fixtures and water usage patterns. 2. Regular Network Inspections: Utilizing modern technologies like acoustic detectors or pressure sensors to identify leaks in underground water pipes 3.Procuring and installing low-flow faucets, toilets, and showerheads. 4.Training maintenance staff and users on the benefits and proper use of low-flow fixtures. 5. Use of High-Durability Materials. Replacing old and damaged pipes with materials that are less prone to corrosion and mechanical damage. | Reduction in water usage (liters per day), number of low-flow fixtures installed | Aligned with national water conservation policies and sustainability goals: National Strategy for Sustainable Development (NSSD); Water Management Strategy; National Environmental Action Plan (NEAP); Climate Change Strategy; National Water Supply and Wastewater Treatment Program scope 3 | Infrastructure investment | Mitigation | Short term (1-3 years)
| Rainwater Harvesting Systems Installation | To collect and store rainwater for non-potable uses such as irrigation and flushing toilets, reducing reliance on municipal water supplies. | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Conducting site assessments to determine the feasibility of rainwater harvesting. 2.Installing rainwater collection systems, including gutters, storage tanks, and filtration units. 3.Integrating rainwater systems with existing plumbing for non-potable uses. 4.Training staff on the operation and maintenance of rainwater harvesting systems. | Amount of rainwater harvested and utilized (liters per year), reduction in municipal water consumption | Aligned with national water conservation policies and sustainability goals: National Strategy for Sustainable Development (NSSD); Water Management Strategy; National Environmental Action Plan (NEAP); Climate Change Strategy; National Water Supply and Wastewater Treatment Program scope 3 | Infrastructure investment | Mitigation | mid-term 3 to 5 years
| Water-Efficient Landscaping | To minimize water use in facility landscaping by using native plants and xeriscaping techniques. | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Designing water-efficient landscaping plans using native and drought-resistant plants. 2.Removing water-intensive plants and turf. 3.Installing efficient irrigation systems, such as drip irrigation. 4.Training landscaping staff on xeriscaping techniques and maintenance. | Reduction in water use for landscaping (liters per year), percentage of landscaped area converted to xeriscaping. | Aligned with national water conservation policies and sustainability goals: National Strategy for Sustainable Development (NSSD); Water Management Strategy; National Environmental Action Plan (NEAP); Climate Change Strategy; National Water Supply and Wastewater Treatment Program scope 3 | Infrastructure investment | Mitigation | mid-term 3 to 5 years
| Green Areas | 1. Avoid sealing of surfaces; 2. Protect and enlarge green areas | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | This measure involves development, expansion, and maintenance of green spaces within health care instititions. It aims to improve environmental quality, enhance biodiversity, and promote public health by increasing the amount of natural vegetation and recreational areas available to the public. This includes planting trees, creating parks, green corridors, and rooftop gardens, as well as protecting existing natural habitats from urbanization and degradation. The measure supports climate resilience by reducing urban heat islands, improving air quality, and offering spaces for social and community activities | m² of sealed surface; m² of green area | urban planning regulations, environmental protection laws, and Sustainable Development Goals (SDGs), particularly Goal 11 (Sustainable Cities and Communities) scope 3 | Infrastructure investment | Mitigation | continuous
7.2.6. Sustainable Transport | Transition to Electric Ambulances and Service Vehicles | To reduce greenhouse gas emissions and operational costs by transitioning to electric ambulances and service vehicles | Ministry of Health, IPH in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Assessing the current fleet of ambulances and service vehicles. 2.Procuring electric vehicles (EVs) and necessary charging infrastructure. 3.Training drivers and maintenance staff on the operation and upkeep of EVs. 4.Monitoring and reporting on the performance and benefits of the EV fleet. 5. Installing EV charging stations at the hospital can encourage the use of electric vehicles by patients, staff, and visitors. | Number of electric vehicles in operation, reduction in fuel consumption and emissions (CO2 equivalent) | National Renewable Energy Action Plan (NREAP); Law on Energy Efficiency; National Environmental Action Plan (NEAP) scope 1,2 | Infrastructure investment | Mitigation | mid-term 3 to 5 years | Electric Ambulances: The cost of an electric ambulance can vary based on the model, manufacturer, and specific features required. For example, a standard electric ambulance might cost between €100,000 and €200,000. Electric Service Vehicles: Standard electric service vehicles (e.g., cars, vans) typically cost between €30,000 and €50,000 each, depending on the model and manufacturer. Charging Stations: Installing a Level 2 charging station can cost around €1,000 to €2,000 per unit. For more advanced Level 3 fast chargers, the cost can range from €10,000 to €50,000 per unit. Installation Costs: Additional costs for electrical work, permits, and installation can range from €1,000 to €5,000 per charging station.
| Incentives for Staff and Patients to Use Public Transportation, electric vehicles, bicycles, or carpooling through subsidized passes, bonuses, or other perks. | To reduce the environmental footprint of healthcare facilities by encouraging the use of public transportation among staff and patients | Ministry of Health, IPH in collaboration with local municipalities and City of Skopje | Direct: Healthcare staff and patients Indirect: Local communities | 1. Developing a subsidy or incentive program for public transportation passes for staff and patients. 2. Collaborating with local public transport authorities to improve service routes to healthcare facilities. 3. Conducting awareness campaigns on the benefits of using public transportation. | Increase in public transportation usage among staff and patients, reduction in private vehicle use. | National Sustainable Development Strategy; National Climate Change Strategy; Local Municipal Transport Plans | Capacity building and policy development | Mitigation | Short term (1-3 years)
| Development of Cycling Infrastructure | To encourage cycling as a sustainable mode of transport by developing infrastructure such as bike racks and shower facilities | Ministry of Health, IPH in collaboration with local municipalities and City of Skopje | Direct: Healthcare facilities Indirect: Patients and the broader community | 1.Installing secure bike racks and storage facilities at healthcare centers. 2. Constructing or upgrading shower and changing facilities for staff who cycle to work. 3. Promoting cycling through awareness campaigns and incentive programs. | Number of staff cycling to work, usage of cycling facilities, reduction in transportation emissions | National Energy Efficiency Action Plan (NEEAP); National Environmental Action Plan (NEAP); Local Municipal Development Plans. scope 1 | Infrastructure investment | Mitigation | Short term (1-3 years)
| Automated Traffic and Parking Management Systems | To reduce traffic congestion and CO2 emissions around large hospitals and clinical centers by optimizing vehicle movement and parking through automated systems, ultimately improving access to healthcare facilities and reducing the environmental impact of hospital-related traffic. | Ministry of Transport and Communications | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. instalation of Smart Parking Sensors; 2. Digital Signage and Wayfinding Systems; 3. Automated Barriers and Payment Systems; 4. Traffic Flow Optimization Software; 5. Mobile Application Integration; 6. Automated License Plate Recognition (ALPR) | 1. Reduction in Average Time to Find Parking; 2. Reduction in CO2 Emissions, 3. Improvement in Traffic Flow; 4. Patient and Visitor Satisfaction: Survey-based measurement of satisfaction levels regarding parking and access to the hospital. | Alignment with National Energy and Climate Plans (NECP) scope 1 | Infrastructure investment | Mitigation | Short term (1-3 years) | Estimated Cost: 2-3 million EUR
| Expansion of Telemedicine Services | To reduce the need for travel to healthcare facilities by expanding telemedicine services, thereby decreasing transportation-related emissions and improving access to healthcare. | Ministry of Health, IPH in collaboration with the Ministry of Information Society and Administration | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Developing and implementing telemedicine platforms and infrastructure. 2. Training healthcare providers on telemedicine technologies and best practices. 3. Promoting telemedicine services to patients and integrating them into standard care practices. 4. Monitoring and evaluating the effectiveness and reach of telemedicine services. | Number of telemedicine consultations, reduction in patient travel, improvement in healthcare access and satisfaction. | National Health Strategy: Enhances healthcare accessibility and efficiency through digital health solutions. National ICT Strategy: Promotes the use of information and communication technologies to improve public services, including healthcare. National Climate Change Strategy: Supports measures to reduce transportation emissions by minimizing the need for physical travel. scope 1 | Infrastructure investment and capacity building | Mitigation and adaptation | Short to mid term (1-5 years)
7.2.7. Waste Reduction and Waste Treatment | Waste Reduction | To minimize the volume of waste generated by healthcare facilities, promoting sustainability and reducing environmental impact. | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | Digitization: Transition to electronic health records (EHRs) to reduce paper waste. Activities: Digitize patient records, implement digital communication systems, and provide training for staff on using digital tools. Benefits: Reduces the need for physical storage and decreases paper consumption. Example: A hospital can switch from paper-based patient records to a digital system, significantly reducing paper waste. | Reduction in paper waste (kg per month), number of digital records implemented. | National Environmental Action Plan (NEAP); Law on Waste Management scope 3 | Infrastructure investment | Mitigation | Short term (1-3 years)
| Bulk Purchasing | To minimize the volume of waste generated by healthcare facilities | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | Activities: Identify frequently used supplies, negotiate bulk purchasing agreements with suppliers, and streamline storage solutions. Benefits: Reduces packaging materials and transportation emissions. Example: Hospitals can order bulk quantities of commonly used items like gloves, reducing the amount of packaging waste generated. | Reduction in packaging waste (kg per month), cost savings from bulk purchasing | National Strategy for Sustainable Development: Emphasizes bulk purchasing to reduce packaging waste. scope 3 | Infrastructure investment | Mitigation | Short term (1-3 years)
| Reusable Containers | To minimize the volume of waste generated by healthcare facilities | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | Activities: Source durable, reusable containers, establish cleaning and sterilization processes, and educate staff on their use. Benefits: Decreases single-use plastic waste. Example: Hospitals can implement reusable containers for items like surgical instruments, medications, and food services. | Reduction in single-use plastic waste (kg per month), number of reusable containers implemented. | National Strategy for Sustainable Development: Emphasizes the reduction of single-use plastics. scope 3 | Infrastructure investment | Mitigation | Short term (1-3 years)
| Sterilizable Surgical Instruments | To minimize the volume of waste generated by healthcare facilities | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | Activities: Procure high-quality, sterilizable instruments, train staff on proper sterilization techniques, and monitor compliance. Benefits: Reduces the need for disposable instruments. Example: Hospitals can invest in reusable surgical instruments that can be sterilized and reused, cutting down on medical waste. | Reduction in disposable surgical instrument waste (kg per month), number of reusable instruments implemented | National Environmental Action Plan (NEAP): Promotes the use of reusable surgical instruments to reduce waste. Law on Waste Management: Encourages the use of reusable medical instruments. scope 3 | Infrastructure investment | Mitigation | Short term (1-3 years)
| Efficient Inventory Management | To minimize the volume of waste generated by healthcare facilities | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | Activities: Implement inventory management software, train staff on inventory best practices, and regularly review stock levels. Benefits: Reduces waste from expired or unused supplies. Example: A hospital can use inventory management software to track the usage and expiration dates of medical supplies, ensuring that items are used before they expire. | Reduction in expired medical supplies (kg per month), improvement in inventory turnover rates. | National Strategy for Sustainable Development: Promotes efficient inventory management to reduce waste. scope 3 | Infrastructure investment and capacity building | Mitigation | Short term (1-3 years)
| Staff Training on Waste Reduction: | To minimize the volume of waste generated by healthcare facilities | Ministry of Health and IPH | Direct: Healthcare facilities Indirect: Patients and the broader community | Activities: Develop training programs, conduct regular workshops, and provide resources and guidelines for waste reduction. Benefits: Increases awareness and compliance with waste reduction practices. Example: Hospitals can conduct training sessions for staff on proper waste segregation, recycling practices, and the use of reusable items. | Number of staff trained, improvement in waste segregation practices, reduction in overall waste generated (kg per month). | National Environmental Action Plan (NEAP): Emphasizes the importance of education and training in waste reduction. Law on Waste Management: Mandates training for healthcare staff on waste management practices. scope 3 | Capacity building | Mitigation | Short term (1-3 years) | €2,000 - €35,000 per institution
| Segregation at Source | To ensure proper handling, treatment, and disposal of healthcare waste, minimizing environmental impact and protecting public health. | Ministry of Health, in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | Activities: Establish waste segregation protocols, provide color-coded bins for different types of waste (e.g., general waste, infectious waste, hazardous waste), and train staff on proper segregation practices. Benefits: Reduces the risk of cross-contamination and ensures that waste is treated and disposed of appropriately. Example: A hospital can implement a segregation system where infectious waste is placed in red bins, hazardous waste in yellow bins, and general waste in black bins. | Percentage of waste correctly segregated, reduction in incidents of cross-contamination | National Environmental Action Plan (NEAP): Supports proper waste segregation to minimize environmental impact. Law on Waste Management: Mandates the segregation of healthcare waste at the point of generation. scope 3 | Infrastructure investment and capacity building | Mitigation | Short term (1-3 years)
| Appropriate Treatment | To ensure proper handling, treatment, and disposal of healthcare waste, minimizing environmental impact and protecting public health. | Ministry of Health, in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | Activities: Implement appropriate treatment methods for different types of waste, such as autoclaving for infectious waste, chemical treatment for hazardous liquid waste, and incineration for certain types of biomedical waste. Benefits: Ensures that waste is treated safely and effectively, reducing environmental and health risks. Example: A hospital can install an autoclave for treating infectious waste and establish protocols for chemical treatment of hazardous liquid waste. | Percentage of waste treated using appropriate methods, reduction in untreated waste. | National Environmental Action Plan (NEAP): Supports the use of appropriate waste treatment technologies. Law on Waste Management: Requires the use of suitable treatment methods for different types of healthcare waste. scope 3 | Infrastructure investment | Mitigation | Mid term (3-5 years) | €100,000 - €500,000 per facility
| Installation of a New Incinerator with Advanced Filtration Systems | To significantly reduce CO2 emissions and other harmful pollutants generated by the current incinerator by replacing it with a modern incinerator equipped with advanced filtration systems. The goal is to ensure environmentally responsible disposal of medical waste while protecting public health. | Ministry of Environment and Physical Planning and City of Skopje | Direct Beneficiaries: Hospitals and Healthcare Facilities and Public Utility Company "Drisla" Indirect: Local Communities | 1. High-Efficiency Combustion Technology: A new incinerator using high-temperature rotary kiln or two-stage combustion systems designed to achieve complete combustion of medical waste, reducing CO2 and other harmful emissions. Higher combustion efficiency results in lower residual waste and emissions. 2. Advanced Filtration Systems: Gas Scrubbers: To neutralize acidic gases such as SO2 and HCl. Baghouse Filters: To remove particulate matter and reduce the emission of fine particles. Activated Carbon Filters: To capture dioxins, furans, and heavy metals, ensuring that these pollutants do not enter the atmosphere. 3. Continuous Emission Monitoring Systems (CEMS): Installation of CEMS to monitor real-time emissions, ensuring that the incinerator operates within permitted limits. Provides data for regulatory compliance and operational adjustments to minimize emissions. | Reduction in CO2 Emissions: Measured by the decrease in emissions from the incinerator before and after the installation of the new system. Reduction in Particulate Matter (PM) and Other Pollutants: Monitored through emissions data, showing a significant decrease in pollutants such as sulfur dioxide (SO2), nitrogen oxides (NOx), and dioxins. Compliance with Emission Standards: Ensuring that the new incinerator consistently meets national and EU emission standards. Operational Efficiency: Evaluating the incinerator’s performance in terms of waste throughput, energy recovery, and downtime due to maintenance or technical issues. | Alignment with National Waste Management Strategy: Compliance with EU Directives: The new incinerator will comply with EU directives on industrial emissions, particularly regarding air quality and waste management. Support for National Climate Goals scope 3 | Infrastructure investment | Mitigation | Mid term (3-5 years) | Estimated Cost: 3-5 million EUR
| Compliance with Regulations | To ensure proper handling, treatment, and disposal of healthcare waste, minimizing environmental impact and protecting public health. | Ministry of Health, in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | Activities: Ensure adherence to local, national, and international regulations and guidelines for healthcare waste disposal, and regularly audit practices to ensure compliance. Benefits: Ensures that waste management practices meet legal standards and protect public health and the environment. Example: Hospitals can establish compliance monitoring systems and conduct regular audits to ensure adherence to waste management regulations. | Compliance rate with waste management regulations, number of successful audits conducted | National Environmental Action Plan (NEAP): Mandates compliance with environmental regulations. Law on Waste Management: Specifies requirements for the disposal of healthcare waste in compliance with national and international guidelines. | Capacity building and policy development | Mitigation | Short term (1-3 years) | €5,000 - €250,000 per facility
7.2.8. Early Warning Systems | Early Warning Systems (EWS) for Climate-Related Health Threats | To develop and implement a comprehensive early warning system that anticipates and responds to climate-related health threats, thereby protecting public health by enabling timely and accurate information dissemination and proactive measures. | Ministry of Health, IPH, in collaboration with the Ministry of Environment and Physical Planning | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Enhance disease surveillance systems to detect early signs of climate-sensitive diseases such as vector-borne diseases (e.g., malaria, dengue) and waterborne diseases (e.g., cholera). This involves setting up monitoring and reporting mechanisms across healthcare facilities and integrating with national health databases. 2.Integrate meteorological and health data to predict and track climate-related health risks. This includes establishing data-sharing protocols between meteorological agencies and health departments, and developing analytical tools to monitor climate variables such as temperature and precipitation. 3.Integrate meteorological and health data to predict and track climate-related health risks. This includes establishing data-sharing protocols between meteorological agencies and health departments, and developing analytical tools to monitor climate variables such as temperature and precipitation. 4. Train healthcare workers and community members on how to respond to early warnings and take appropriate actions to prevent and mitigate health impacts. This includes developing training modules, conducting workshops, and establishing regular drills and exercises. | Number of surveillance sites established; Number of integrated data systems established; Number of alert mechanisms implemented; Number of training sessions conducted | National Climate Strategy: Aligns with efforts to integrate climate data into public health planning. Disaster Risk Reduction (DRR) Framework: Supports goals of the national DRR strategy by enhancing predictive capabilities. Emergency Communication Plan: Supports national objectives for enhancing emergency communication systems. Public Health Preparedness Programs: Integrates with existing public health initiatives to improve community readiness. | Infrastructure and capacity building | Cross-cutting (mitigation and adaptation) | Short term (1-3 years)
7.2.9. Health Promotion and Education | Public Awareness Campaigns | To increase public awareness and education on the health risks associated with climate change, empowering individuals and communities to take proactive measures to protect their health. | Ministry of Health, IPH, in collaboration with the Ministry of Environment and Physical Planning | Direct: General population Indirect: Vulnerable communities | Launch public awareness campaigns using various media channels (TV, radio, social media, print) to educate the public about the health risks associated with climate change and the steps they can take to mitigate these risks. Campaigns could focus on the dangers of heatwaves, air pollution, and vector-borne diseases, providing tips on staying safe during extreme weather events. | Reach and engagement metrics for media campaigns; Increase in public awareness and knowledge about climate-related health risks | National Health Strategy: Supports public health education and awareness initiatives. Climate Adaptation Plan: Aligns with the goals of the National Adaptation Plan (NAP) to increase public resilience to climate impacts. | Capacity building and public engagement | Adaptation | Short term (1-3 years)
| Educational Materials | To increase public awareness and education on the health risks associated with climate change, empowering individuals and communities to take proactive measures to protect their health. | Ministry of Health and IPH | Direct: General population Indirect: Vulnerable communities | Develop and distribute educational materials such as brochures, posters, and online resources that explain the impact of climate change on health and provide practical advice for individuals and communities. | Number of educational materials distributed | Public Health Communication Plan: Supports the dissemination of health information to the public. | Capacity building and public engagement | Adaptation | Short term (1-3 years)
| Training for Health Professionals | To enhance capacity of healthcare professionals to address climate-related health issues. | Ministry of Health and IPH | Direct: Healthcare providers Indirect: Patients | Provide training for healthcare providers on the health impacts of climate change, how to recognize and treat climate-related health conditions, and how to counsel patients on climate adaptation measures. | Number of healthcare providers trained | National Health Workforce Strategy: Supports ongoing professional development for healthcare providers. Climate Adaptation Plan: Aligns with goals to build healthcare capacity for climate resilience. | Capacity building | Adaptation | Short term (1-3 years)
7.2.10. Vulnerable Population Support | Identification of Vulnerable Groups | To identify and protect populations most vulnerable to climate-related health risks through targeted interventions, community-based programs, access to healthcare, and emergency preparedness. | Ministry of Health, IPH, in collaboration with the Ministry of Social Policy | Direct: Vulnerable populations Indirect: Broader community | Conduct assessments to identify populations most vulnerable to climate-related health risks based on factors such as age, socioeconomic status, health status, and geographic location. | Number of assessments conducted Number of vulnerable groups identified Geographic areas mapped | National Health Strategy: Supports the identification and protection of vulnerable populations. Climate Adaptation Plan: Aligns with goals to enhance the resilience of vulnerable groups to climate impacts. | Capacity building and research | Adaptation | Short term (1-3 years) | €15,000 - €35,000
| Targeted Interventions | To identify and protect populations most vulnerable to climate-related health risks through targeted interventions, community-based programs, access to healthcare, and emergency preparedness. | Ministry of Health, IPH, in collaboration with local municipalities | Direct: Vulnerable populations Indirect: Broader community | Develop and implement targeted interventions to protect and support vulnerable groups. This could include providing cooling centers during heatwaves, improving air quality in low-income neighborhoods, and ensuring access to clean water. | Number of targeted interventions implemented | Public Health Preparedness Programs: Integrates with efforts to provide targeted health interventions. National Climate Strategy: Supports initiatives to mitigate climate impacts on vulnerable populations. | Infrastructure investment and service provision | Adaptation | Mid term (3-5 years)
| Emergency Preparedness | To identify and protect populations most vulnerable to climate-related health risks through targeted interventions, community-based programs, access to healthcare, and emergency preparedness. | Ministry of Health, IPH, in collaboration with the National Emergency Management Agency | Direct: Vulnerable populations Indirect: Broader community | Develop and disseminate emergency preparedness plans tailored to the needs of vulnerable populations, ensuring they have the resources and knowledge to respond to climate-related emergencies. | Number of emergency preparedness plans developed | National Emergency Management Plan: Supports the development of tailored emergency preparedness plans. Climate Adaptation Plan: Aligns with goals to enhance the resilience of vulnerable populations to climate impacts. | Capacity building | Adaptation | Short term (1-3 years)
7.2.11. Green Procurement in the Health Sector | Green procurment | To implement green procurement practices across all health sector institutions in North Macedonia, promoting environmental sustainability, reducing the carbon footprint, and ensuring eco-friendly operations. | Ministry of Health, IPH, in collaboration with the Ministry of Environment and Physical Planning | Direct: All health sector institutions Indirect: Suppliers and the broader community | Develop and implement green procurement policies that prioritize the purchase of environmentally friendly products and services. This includes setting criteria for sustainable procurement, such as energy efficiency, reduced packaging, and the use of non-toxic materials. | Number of green procurement policies implemented Percentage of eco-friendly products purchased | National Environmental Action Plan (NEAP): Supports initiatives to promote sustainable procurement. Law on Public Procurement: Encourages the integration of environmental considerations in public procurement processes. scope 3 | Policy development and capacity building | Cross-cutting | Short term (1-3 years) | €5,000 - €15,000 per instituion
7.2.12. Nutrition & Food | Climate-Friendly Menus and Introduction of collective catering for all employees in the healthcare sector. | To promote climate-friendly menus and reduce food waste in the nutrition and food services across all institutions in North Macedonia, enhancing environmental sustainability and resource efficiency. | Ministry of Health, IPH, in collaboration with the Ministry of Agriculture, Forestry and Water Economy | Direct: All institutions Indirect: Local farmers, broader community | Develop and promote menus that prioritize plant-based foods, locally sourced ingredients, and seasonal produce. Reduce the use of high-impact animal products such as red meat and dairy, and replace them with more sustainable protein sources like legumes, nuts, and fish. | Percentage of plant-based meals offered Reduction in the use of high-impact animal products Increase in locally sourced ingredients | National Environmental Action Plan (NEAP): Supports initiatives to reduce greenhouse gas emissions in the food sector. Health and Nutrition Strategy: Aligns with goals to promote healthy eating and sustainable food systems. scope 3 | Policy development and capacity building | Mitigation | Short term (1-3 years) | €5,000 - €15,000 per instituion
| Reducing Food Waste | To promote climate-friendly menus and reduce food waste in the nutrition and food services across all institutions in North Macedonia, enhancing environmental sustainability and resource efficiency. | Ministry of Health, IPH, in collaboration with the Ministry of Environment and Physical Planning | Direct: All institutions Indirect: broader community | Implement strategies to reduce food waste at all stages of food service, including procurement, preparation, and consumption. This includes conducting regular food waste audits, optimizing portion sizes, improving food storage and handling practices, and promoting food waste awareness among staff and consumers. | Reduction in food waste generated (kg) Number of food waste awareness programs conducted | National Waste Management Strategy: Supports efforts to reduce waste and promote recycling and composting. Sustainable Development Goals (SDGs): Aligns with goals to reduce food waste and promote sustainable consumption and production. scope 3 | Policy development, infrastructure investment, and capacity building | Mitigation and Adaptation | Mid term (3-5 years) | €5,000 - €15,000 per instituion
7.2.13. Chemicals | Sustainable Refrigerant Management in Healthcare Facilities | To reduce CO2 emissions and other greenhouse gases by transitioning to low-GWP refrigerants, optimizing refrigerant use, and improving the energy efficiency of cooling systems in healthcare facilities. | Ministry of Environment and Physical Planning | Direct: All institutions Indirect: broader community | 1. Replacing existing high-GWP refrigerants such as HFCs with low-GWP alternatives like hydrofluoroolefins (HFOs), ammonia, or CO2-based refrigerants. 2. Implementing advanced leak detection systems and conducting regular maintenance checks to minimize refrigerant leakage, which is a major source of emissions. 3. Upgrading cooling and refrigeration systems to more energy-efficient models that are compatible with low-GWP refrigerants. | Reduction in GWP of Refrigerants Used; Reduction in Refrigerant Leakage | Alignment with National Climate Action Plans; Support for Energy Efficiency Standards: This measure aligns with national energy efficiency programs, promoting the use of more sustainable and energy-efficient technologies in healthcare. scope 1 | Infrastructure Investment | mitigation | Mid term (3-5 years)
| Sustainable Anesthetic Management in Healthcare Facilities | To reduce CO2 emissions and other greenhouse gases by transitioning to low-GWP anesthetics, optimizing the use of anesthetic gases, and improving the efficiency of anesthesia delivery systems in healthcare facilities. | The Ministry of Health and IPH will lead the implementation of sustainable anesthetic practices, providing guidelines and regulations for the use and management of anesthetic gases in healthcare facilities. | Direct: Healthcare facilities Indirect: Patients and the broader community | 1. Phasing out high-GWP anesthetics such as desflurane and nitrous oxide, and replacing them with lower-GWP alternatives like sevoflurane or isoflurane. 2. Upgrading anesthesia machines to those with lower fresh gas flow rates, which minimize the volume of anesthetic gases used during procedures. 3. Implementing technologies that capture and safely destroy waste anesthetic gases rather than venting them into the atmosphere. | Reduction in GWP of Anesthetics Used; Reduction in Anesthetic Gas Usage; Increase in the Use of Low-GWP Anesthetics: | Alignment with National Climate Action Plans scope 1 | Infrastructure Investment and capacity building | mitigation | Short term (1-3 years)
| Sustainable Management of Analytical Gases in Healthcare Facilities | To reduce CO2 emissions and other greenhouse gases by transitioning to low-GWP analytical gases, optimizing gas usage, and improving the efficiency of gas delivery systems in healthcare facilities. | The Ministry of Health and IPH will oversee the implementation of sustainable management practices for analytical gases, ensuring alignment with environmental regulations and promoting the use of low-GWP alternatives in healthcare facilities. | Direct: Laboratories and Diagnostic Facilities; Indirect: Patients and the broader community | 1. Phasing out high-GWP analytical gases, such as certain refrigerants and solvents used in gas chromatography, and replacing them with lower-GWP alternatives like hydrogen, helium, or carbon dioxide in their pure form. 2. Upgrading gas delivery systems to reduce leakage and minimize waste. This includes installing high-efficiency regulators, valves, and piping systems. 3. Implementing technologies that capture unused or waste gases during laboratory procedures and either recycle them for further use or safely destroy them. | Reduction in GWP of Analytical Gases Used; Reduction in Gas Usage | Alignment with National Climate Action Plans scope 1 | Infrastructure Investment and capacity building | mitigation | Short term (1-3 years)